Feedback control loop: water flow rate
  -. water flow rate is changed by this so as to keep liquid volume level of evaporator.

---
Increase flow rate of steam.

---
counter flow
NTU [nond]
effectiveness [nond]

---
relative error [nond]

---
effectiveness [nond]
Increase number of discretization.
Size of heat exchanger ∝ NTU

---
relative error [nond]
Increase number of discretization.

---
effectiveness [nond]
parallel flow
effectiveness [nond]
Effect of discretization is less than counter type.
 → reproduction of temperature distribution is less important
Effect of discretization is greater than parallel flow.
 → reproduction of temperature distribution is more important

---
parallel flow
relative error [nond]
relative error [nond]
-. The effect of NTU on ralative error is less compared to parallel flow type.
 → The discretization is important regardless of HX size (NTU).
-. The effect number of discretization gets less with higher NTU (size of HX).
 → The discretization is less important as HX size gets larger.